**Abstract**

**Background**

Late gadolinium enhancement (LGE) imaging is validated for diagnosis and quantification of myocardial infarction (MI). Despite good contrast between scar and normal myocardium, contrast between blood pool and myocardial scar can be limited. Dark blood LGE sequences attempt to overcome this issue.

**Purpose**

To evaluate T1 rho prepared (T1ρ) dark blood sequence and compare to blood nulled PSIR (BN) and standard myocardium nulled PSIR (MN) for detection and quantification of scar.

**Study type**

Prospective

**Population**

30 patients with prior MI

**Field Strength/Sequence**

Patients underwent identical 1.5T MRI protocols. Following routine LGE imaging a slice with scar, remote myocardium and blood pool was selected. PSIR LGE was repeated with inversion time set to null myocardium (MN), to null blood pool (BN) and T1ρ FIDDLE in random order.

**Assessment:**

3 observers. Qualitative assessment of confidence scores in scar detection and degree of transmurality. Quantitative assessment of myocardial scar mass (grams), and contrast-to-noise ratio (CNR) measurements between scar, blood pool and myocardium.

**Statistical Tests:**

Repeated measures ANOVA with Bonferroni correction, coefficient of variation, Cohen κ statistic.

**Results:**

CNRscar-blood was significantly increased for both BN(27.1±10.4) and T1ρ(30.2±15.1) compared to MN(15.3±8.4 P<0.001 for both sequences). There was no significant difference in CNRscar-myo between BN(55.9±17.3) and MN(51.1±17.8 P=0.512); both had significantly higher CNRscar-myo compared to the T1ρ(42.6±16.9 P=0.007 and P=0.014 respectively). No significant difference in scar size between LGE methods: MN(2.28±1.58g) BN(2.16±1.57g) and T1ρ(2.29±2.5g). Confidence scores were significantly higher for BN(3.87±0.346) compared to MN(3.1±0.76 P <0.001) and T1ρ(3.20±0.71 P<0.001).

**Data Conclusion:**

PSIR with TI set for blood nulling and the T1ρ LGE sequence demonstrated significantly higher scar to blood CNR compared to routine MN. PSIR with TI set for blood nulling demonstrated significantly higher reader confidence scores compared to routine MN and T1ρ LGE, suggesting routine adoption of BN PSIR approach might be appropriate for LGE imaging.

**Key Words:**

Late Gadolinium enhancement, myocardial infarction, ischaemic heart disease, bright blood, dark blood

**Abbreviations:**

BN blood nulled PSIR LGE

CNR Contrast to Noise ratio

EDV End diastolic volume

EF ejection fraction

ESV end systolic volume

FIDDLE Flow-Independent Dark-blood DeLayed Enhancement

LGE late gadolinium enhancement

MACE major adverse cardiovascular events

MI myocardial infarction

MN myocardium nulled PSIR LGE

MOLLI modified Look-Locker inversion-recovery

MRI magnetic resonance imaging

PSIR Phase sensitive inversion recovery

RF radiofrequency

ROI Regions of interest

SL spin locking

SSFP steady state free precession

STEMI ST segment myocardial infarction

SV stroke volume

T1ρ T1rho

**Introduction**

Late gadolinium enhancement imaging (LGE) is both diagnostic for myocardial infarction as well as prognostic in patients with ischaemic heart disease (1–3). The presence of late enhancement has been shown to confer increased risk of major adverse cardiovascular events (MACE) and cardiovascular mortality above and beyond clinical and angiographic findings (1, 4). Furthermore, the transmural extent of myocardial infarction (MI) demarcated on LGE imaging accurately identifies the likelihood of myocardial functional recovery following revascularisation (2, 5). Clinical progress has resulted in a reduction in the number of fatal ST-segment elevation myocardial infarctions (STEMI), however this has led to increased numbers of patients living with ischaemic scar. Thus accurate methods of scar quantitation/transmurality assessment are required to guide revascularisation decisions and for prognostication (6).

LGE imaging is typically performed 10-20 minutes following administration of a gadolinium-based contrast agent, by a two-dimensional (2D) inversion recovery (IR) spoiled gradient echo sequence (7). Conventionally this is preceded by a Look-Locker sequence enabling the MR operator to set an appropriate inversion time (TI) to null normal myocardium, and thus give high contrast between ‘bright’ scarred myocardium (where gadolinium contrast agent is retained), and the darker healthy myocardium. Phase sensitive inversion recovery (PSIR) sequences have been developed to overcome the need to precisely choose the correct TI to null the normal myocardium (8). A large proportion of infarctions are sub-endocardial because ischaemia causes a wavefront-phenomena of necrosis that affects the sub-endocardial fibres of the myocardium first (9). Despite good contrast between scar and normal myocardium, contrast between blood pool and myocardial scar can be limited leading to uncertainty for the reporting clinician as to the precise location of the scar-blood pool interface, which then can impact on the assessment of the transmural extent of the scar.

Several dark blood sequences have been described that attempt to overcome the issue of poor contrast between contrast enhanced blood pool and sub-endocardial infarction by addition of extra magnetization pulses (10–17). FIDDLE(Flow-Independent Dark-blood DeLayed Enhancement) incorporates an additional magnetisation preparation prior to the inversion pulse in a PSIR LGE sequence (16, 17). Numerous radiofrequency (RF) preparation types may be employed, such as T1rho (T1ρ), T2 preparation, additional inversion pulses etc. T1ρ is the decay rate of magnetisation during application of a RF field applied parallel to the net magnetisation of spins, in the rotating frame. More complex composite RF preparations for T1ρ weighting can be used to compensate for variations in the B1 field, and B0 inhomogeneity. The preparation pulse incorporates a *spin locking* time (SL) during which T1ρ decay occurs (18). Then standard LGE imaging follows. The magnetisation preparation effects a different starting value for the magnetisation of tissues before LGE imaging. Then when LGE image acquisition immediately follows, adjusted contrast remains between these tissues. In each case, the intention is that blood pool remains the most incompletely recovered longitudinal magnetization compared to the other tissues of interest, thus yielding the lowest signal – dark blood – in the PSIR LGE image. A PSIR reconstruction reduces sensitivity to inversion time precision and removes the risk of tissues with different T1 relaxation times appearing isointense.  Recently a method using a standard PSIR sequence with the inversion time set to null the blood pool rather than the myocardium was described in a group of 9 patients (19). This method, albeit in a small number of patients, led to improved scar to blood Contrast to Noise ratio (CNR) and improved reader confidence (19).

The aim of this study was to prospectively evaluate a novel T1ρ FIDDLE dark blood sequence and compare this to the recently described blood nulled PSIR (BN) and the standard ‘clinical’ myocardium nulled PSIR (MN) technique for the detection and quantification of scar in the setting of ischaemic heart disease.

**Methods**

**Study population**

Patients with prior myocardial infarction were recruited between April 2017 and June 2017. Myocardial infarction was confirmed by cardiac biomarkers, electrocardiography and coronary angiography (20). Inclusion criteria were age ≥18 years, no contra-indication to contrast-enhanced cardiac MRI, glomerular filtration rate ≥60mL/min/1.73m2. Patients with atrial fibrillation, non-MR compatible implants, renal failure or claustrophobia were excluded. The study was performed in accordance with the Declaration of Helsinki, approved by the National Research Ethics Service, with all patients providing informed written consent.

**Cardiac MRI data acquisition**

Cardiac MRI was performed on a 1.5 Tesla Philips Ingenia system (Philips Healthcare, Best, The Netherlands) equipped with a 28 channel digital receiver coil and patient-adaptive RF shimming. Image acquisition included survey images, assessment of myocardial function using standard SSFP cine imaging (spatial resolution 1.09x1.09x8mm³, 30 cardiac phases TR/TE 3.0/1.48ms, flip angle 40o, field of view 360-360mm, SENSE acceleration) and 2D LGE imaging. For LGE imaging, an intravenous bolus of 0.15mmol/kg gadobutrol (Gadovist®, Bayer Inc.) was administered. At 10 minutes post-contrast, the optimal inversion time to null the myocardium was determined by a Look-Locker sequence. A routine 2D breathhold phase sensitive inversion recovery sequence with 12 slices covering the full LV (thickness 10mm, no gap, repetition time 6.1 ms/echo time 3.0 ms, flip angle 25º) was then performed using a spoiled GRE readout and the 12 slices were acquired in separate breath-holds. A single short axis slice that included scar, remote healthy myocardium and blood pool was then selected, and a repeat Look-Locker sequence was performed for this slice to re-confirm appropriate inversion times for tissues of interest. The selected short axis slice was then re-acquired using the PSIR LGE sequence with the inversion time set to null myocardium (MN), the inversion time set to null the blood pool (BN) and a T1ρ FIDDLE sequence. A dedicated noise scan (identical pulse sequence without excitation pulses) was performed after each slice acquisition, in order to enable accurate measurement of the signal-noise level (19). The T1ρ-prepared and the two standard PSIR sequences were all performed in random order to avoid systematic bias caused by differences in contrast washout.

Imaging parameters were as follows:

2D breath-hold phase sensitive inversion recovery sequences with 12 slices covering the full LV, thickness 10mm, no gap, repetition time 6.1ms, echo time 3.0ms, flip angle 25º, field of view 300x300mm, matrix 127/256, acquired in-plane resolution 1.59x2.20mm2 reconstructed to 0.91x0.91mm2, effective SENSE factor 2.2. The turbo factor was 20 (7 shots) with an acquisition duration of 123.3ms. The receiver bandwidth was 250.2 Hz/px. The same sequence was used for both the single slices of the MN and the BN with the TI set to null myocardium and blood pool respectively.

For the T1ρ FIDDLE sequence, the T1ρ preparation employed a ΔB0 and B1 insensitive spin lock (21) consisting of 90x,SLy,180y,SL−y,90-x pulses as seen in Figure 1, with the two spin lock (SL) pulses using a locking frequency of 500Hz. The spin lock time was 40ms. The SL pulses with opposed phase compensate for B1 variation, and the central 180 pulse compensates for B0 inhomogeneity. Following the T1ρ preparation routine the standard PSIR sequence is performed.

**Cardiac MRI data analysis**

Cardiac MRI data were analysed quantitatively using commercially available software (CVI42, Circle Cardiovascular Imaging Inc. Calgary, Canada). MR data analysis of the three types of LGE images was performed blinded in random order by a cardiologist (Observer 1 with 3 years cardiac MRI experience). For all patients, quantitative analysis was performed again 4 weeks later to assess intra-observer variability and to assess inter-observer variability for all patients by a second (Observer 2 with 3 years cardiac MRI experience) and third cardiologist (Observer 3 with 3 years cardiac MRI experience). For volumetric analysis, endocardial borders were traced on the LV cine stack at end-diastole and end-systole to calculate end diastolic volume (EDV), end systolic volume (ESV), stroke volume (SV) and ejection fraction (EF). Contours were traced to exclude papillary muscles and trabeculations.

**Image analysis**

**Qualitative LGE assessment**

Maximum scar transmurality was visually assessed using a 5 point scale (0=no LGE, 1=1-25%, 2=26-50%, 3=51-75%, 4=76-100%). Confidence in scar detection and degree of transmurality was assessed using a 4 point scale (1=non-diagnostic, 2=low, 3=moderate, 4=high confidence).

**Quantitative LGE assessment**

Quantitative assessment of the myocardial scar burden was performed using the semi-automated full-width half-maximum method (threshold of 50% of the maximum intensity within the scar) which has been proposed as the most reproducible method (22, 23). On the 2D BN, MN and T1ρ LGE short-axis images endocardial and epicardial contours were manually outlined (excluding trabeculations and papillary muscles); manual delineation of two separate user-defined regions of interest (ROIs) were then made on the LGE short axis slice where infarcted myocardium was present. One ROI was drawn in remote myocardium (where no scar was present); a second ROI was drawn within hyperenhanced myocardium where infarcted myocardium was present. Scar tissue mass (grams) was then calculated on the BN, MN and T1ρ LGE LV short axis slice based on these ROIs.

**CNR measurement**

ROIs were drawn on each single slice MN, BN, and T1ρ LGE images in areas of hyper-enhancement, a remote area of normal myocardium, and in the blood pool. ROIs contained at least 30 pixels, aside from the areas of hyper-enhancement where size of the ROI was governed by the size of the scar. A further ROI covering the entire LV myocardium was drawn on the corresponding noise image, the standard deviation of this measurement was then used to calculate CNR measurements. CNR was calculated as the ratio of the difference in mean signal intensity between ROIs on the LGE images to the standard deviation of signal intensity in the whole LV ROI from the separate noise image. CNR was calculated for difference between scar and blood pool (CNRscar-blood), scar and myocardium (CNRscar-myo) and between blood and remote myocardium (CNRblood-myo).

**Statistical analysis**

Continuous variables are expressed as means ± SD. Categorical variables are expressed as N (%) or proportions. Normality of data was tested using a Shapiro-Wilk test. Repeated measures ANOVA with post hoc Bonferroni correction was used to compare means of the three groups. P<0.05 was considered statistically significant. Coefficient of variation was used to assess interobserver and intraobserver variability for scar size. Cohen κ statistic was used for interobserver and intraobserver agreement for transmurality assessment and the image confidence score. Statistical analysis was performed using IBM SPSS® Statistics 22.0 (IBM Corp., Armonk, NY).

**Results**

**Study population**

A total of 30 patients (26/30 male, mean age 63.8±10.7 years; mean BMI 26.3±3.6kg/m2; mean LV ejection fraction 47±11%; LVEDV 167±53ml; LVEDVi 87±25ml/m2; LVSV 75±17ml/m2; LVESV 92±48ml) were prospectively examined.

**MR imaging**

Imaging using routine PSIR, blood nulled PSIR and T1ρ were successfully completed in all patients with no imaging failures. There was no significant difference in time of image acquisition between the three pulse sequences (MN 17:58±0.53minutes, BN 18.07±0.47minutes, T1ρ 18.11 ±0.46minutes P=1 between all.)

**Qualitative image analysis**

**Transmurality assessment**

The transmural extent was deemed significantly larger in the BN (66 ± 34%) and T1ρ (66 ± 36%) compared to MN 48 ± 37%, (P<0.001 compared to both BN and T1ρ). Interobserver agreement for transmurality assessment was excellent for all methods (observer 1:2 κ = 0.81 (MN), 0.95 (BN), 0.85 (T1ρ) observer1:3 κ=0.846 (MN), 0.901 (BN), 0.900 (T1ρ)). Intraobserver agreement for transmurality assessment was also good or excellent for all methods (κ = 0.70 (MN), 0.85 (BN), T1ρ 0.85 (T1ρ)).

**Confidence scores for assessment of transmurality**

No images were deemed non-diagnostic. Confidence scores were significantly higher for BN (3.87 ± 0.346) compared to MN (3.10 ± 0.76 P <0.001) and T1ρ (3.20 ± 0.71 P<0.001), there was no difference in confidence scores for T1ρ compared to MN (P=0.977). Interobserver agreement was excellent for the three methods (observer 1:2 κ=0.843 (MN), 0.865 (BN), 0.870 (T1ρ) observer1:3 κ=0.839 (MN), 0.896 (BN), 0.746 (T1ρ)). Intraobserver agreement was also excellent for all three methods (κ = 0.948 (MN), 0.839 (BN), 0.865 (T1ρ)). In one patient both BN and T1ρ identified sub-endocardial scar that was mistaken for outflow tract by both readers on the MN LGE image (figure 2; further representative images are seen in figures 3 and 4).

**Quantitative image analysis**

**Scar size**

There was no significant difference in scar size between the three LGE methods: MN (2.28 ± 1.58g) BN (2.16 ± 1.57g) and T1ρ (2.29 ± 2.5g) (MN:BN P=0.066, BN:T1ρ P=0.385, MN: T1ρ P=1). Interobserver coefficient of variation was good for all three methods (Observer 1:2 MN 9.32%, BN 7.63%, T1ρ 9.40% Observer 1:3 MN 8.86%, BN 7.09%, T1ρ 9.45%) Intraobserver coefficient of variation for scar size was also good for all three methods (MN 7.36%, BN 7.39%, T1ρ 9.18%).

**CNR analysis**

The CNRscar-blood was significantly increased for both the BN (27.1 ± 10.4) and the T1ρ (30.2 ± 15.1) compared to the MN (15.3 ± 8.4 P<0.001 for both sequences) (Figure 4). There was no significant difference in CNRscar-myo between BN (55.9 ± 17.3) and MN (51.1 ± 17.8 P=0.512); these both had significantly higher CNRscar-myo compared to the T1ρ (42.6 ± 16.9 P=0.007 and P=0.014 respectively). The CNRblood-myo was significantly higher for MN compared to BN (28.0 ± 12 P<0.001); CNRblood-myo was also significantly higher for both MN and BN compared to T1ρ (13.6 ± 7.2 P<0.001 for both sequences).

**Discussion**

The main findings of this study are: i) both PSIR with TI set for blood nulling and the T1ρ LGE sequence demonstrated significantly higher scar to blood CNR compared to routine MN; ii) PSIR with TI set for blood nulling demonstrated significantly higher reader confidence scores compared to both routine MN and the novel T1ρ LGE sequence iii.) quantitative LGE scar size measurement showed no statistical difference between the three LGE methods.

Current conventional LGE imaging using IR and PSIR spoiled gradient echo sequences give high resolution images that are firmly established as the reference standard for viability imaging by cardiac MRI. Accurate determination of transmurality is vital to guide revascularisation; currently however a significant limitation is that of the limited contrast between hyperenhanced scar and residual contrast in the LV blood pool. Several previous studies have used a variety of different preparation pulses, including T2 preparation, double and triple inversion recovery, or T1ρ with spin locking to produce dark or black blood LGE images (10–16). Most recently focus has been concentrated on using a T2 preparation pulse to null the blood pool; Basha et al noted a significantly increased signal ratio between scar to blood using a T2 preparation pulse sequence versus a standard inversion recovery LGE sequence (24). Furthermore, recently a non-breath held motion corrected method using an inversion recovery T2 preparation combined with SSFP imaging demonstrated an increase in CNR of 13% for scar to blood compared to standard IR LGE sequence (15). This sequence has subsequently been assessed in 172 patients and identified significantly more LGE compared to standard LGE imaging (25). Most of these sequences currently remain research investigations and are vendor/platform specific and are yet to see mainstream clinical adoption. The recent study by Holtackers et al demonstrated an increased scar to blood contrast when nulling blood in a standard PSIR pulse sequence, without the need for additional preparation pulses (19).

Both the T1ρ and blood nulling PSIR LGE images in our study significantly increased the CNR between scar and blood pool compared to routine myocardium nulling PSIR images. Notably this only led to an increased reader confidence in the BN, but not however for the T1ρ sequence despite this increased CNR. The lower confidence scores for the T1ρ compared to the BN are likely representative of the lower CNRblood-myo for the T1ρ compared to the BN leading to difficulty in ascertaining the true anatomy of the left ventricle (distinction between remote myocardium and blood pool); this finding suggests that high CNRscar-blood is not the only facet necessary for high reader confidence. The anatomy of the ventricle can potentially be derived from the previously acquired SSFP images and transposed onto the T1ρ images in order to clarify scar location; this however would add time to reader interpretation. The BN images retain the excellent image quality that characterise routine 2D MN PSIR images, whilst increasing the confidence of the reader for the identification of scar border. Quantitatively derived scar size was not significantly different between the three LGE methods despite the two dark blood methods objectively identifying greater transmural extent of scar to the two readers. Other LGE studies have demonstrated an increase in scar size using dark blood sequences, however these have been by visual assessment only or using less conventional methods of LGE quantitation (19, 25). There is no histological correlation for these findings, this corroborates those seen previously where histological correlation was performed (17).

This study compared PSIR with blood nulling and myocardium nulling to a dark blood sequence using additional preparation pulses. A primary benefit of the BN method is that the acquisition used in pulse sequence is already established in routine clinical use and requires no additional magnetisation pulses to perform. Importantly, this makes it simple for standard clinical adoption as it requires very little radiographer/clinician training to employ. This is in contrast to the recently described T2 sequence that led to a comparative doubling of acquisition time for a stack of 9 short axis slices (typically 12 short axis slices are acquired suggesting this length of time would increase further) (15). As cardiac MRI becomes ever more established in clinical guidelines efficient workflow in cardiac MRI departments is vital especially given that viability assessment is currently the third highest indication for cardiac MRI assessment in Europe (26).

In this study, we only used single slices and did not cover the entire ventricle with the three different acquisitions. This approach however minimised the time elapsed between acquisition of the different sequences and consequent reduced the observed change in CNR to be due to the washout kinetics of the gadolinium contrast agent. There was no true histological reference standard to compare the actual presence or size of scar detected by the three sequences, consequently small areas of apparent enhancement seen with a single pulse sequence could be artifactual. A further limitation is that there were only small numbers of patients.

In conclusion, both BN images and T1ρ increase CNR for scar to blood compared to MN images with the TI set to null the myocardium. Routine adoption of the blood nulled PSIR would seem appropriate as reader confidence is heightened compared to MN images and T1ρ sequences; as this LGE sequence is already in clinical use it requires little training to enable widespread clinical implementation.

**References**

1. Kwong RY, Chan AK, Brown KA, et al.: Impact of unrecognized myocardial scar detected by cardiac magnetic resonance imaging on event-free survival in patients presenting with signs or symptoms of coronary artery disease. *Circulation* 2006; 113:2733–43.

2. Kim RJ, Wu E, Rafael A, et al.: The use of contrast-enhanced magnetic resonance imaging to identify reversible myocardial dysfunction. *N Engl J Med* 2000; 343:1445–53.

3. Ripley DP, Motwani M, Brown JM, et al.: Individual component analysis of the multi-parametric cardiovascular magnetic resonance protocol in the CE-MARC trial. *J Cardiovasc Magn Reson* 2015; 17:59.

4. Kelle S, Roes SD, Klein C, et al.: Prognostic value of myocardial infarct size and contractile reserve using magnetic resonance imaging. *J Am Coll Cardiol* 2009; 54:1770–7.

5. Kim RJ, Fieno DS, Parrish TB, et al.: Relationship of MRI delayed contrast enhancement to irreversible injury, infarct age, and contractile function. *Circulation* 1999; 100:1992–2002.

6. Mozaffarian D, Benjamin EJ, Go AS, et al.: Heart Disease and Stroke Statistics—2016 Update. *Circulation* 2016; 133:e38–e360.

7. Kellman P, Arai AE: Cardiac imaging techniques for physicians: late enhancement. *J Magn Reson Imaging* 2012; 36:529–42.

8. Kellman P, Arai AE, McVeigh ER, Aletras AH: Phase-sensitive inversion recovery for detecting myocardial infarction using gadolinium-delayed hyperenhancement. *Magn Reson Med* 2002; 47:372–83.

9. Reimer KA, Jennings RB: The “wavefront phenomenon” of myocardial ischemic cell death. II. Transmural progression of necrosis within the framework of ischemic bed size (myocardium at risk) and collateral flow. *Lab Invest* 1979; 40:633–44.

10. Basha T, Roujol S, Kissinger K V, Goddu B, Manning WJ, Nezafat R: Black blood late gadolinium enhancement using combined T2 magnetization preparation and inversion recovery. *J Cardiovasc Magn Reson* 2015; 17(Suppl 1):O14.

11. Farrelly C, Rehwald W, Salerno M, et al.: Improved detection of subendocardial hyperenhancement in myocardial infarction using dark blood-pool delayed enhancement MRI. *Am J Roentgenol* 2011; 196:339–348.

12. Peel SA, Morton G, Chiribiri A, Schuster A, Nagel E, Botnar RM: Dual Inversion-Recovery MR Imaging Sequence for Reduced Blood Signal on Late Gadolinium-enhanced Images of Myocardial Scar. *Radiology* 2012; 264:242–249.

13. Liu CY, Wieben O, Brittain JH, Reeder SB: Improved delayed enhanced myocardial imaging with T2-Prep inversion recovery magnetization preparation. *J Magn Reson Imaging* 2008; 28:1280–1286.

14. Muscogiuri G, Rehwald WG, Schoepf UJ, et al.: T(Rho) and magnetization transfer and INvErsion recovery (TRAMINER)-prepared imaging: A novel contrast-enhanced flow-independent dark-blood technique for the evaluation of myocardial late gadolinium enhancement in patients with myocardial infarction. *J Magn Reson Imaging* 2016:1–9.

15. Kellman P, Xue H, Olivieri LJ, et al.: Dark blood late enhancement imaging. *J Cardiovasc Magn Reson* 2016; 18:77.

16. Kim HW, Rehwald WG, Wendell DC, et al.: Flow-Independent Dark-blood DeLayed Enhancement ( FIDDLE ): validation of a novel black blood technique for the diagnosis of myocardial infarction. *J Cardiovasc Magn Reson* 2016; 18(Suppl 1):1–3.

17. Kim HW, Rehwald WG, Jenista ER, et al.: Dark-Blood Delayed Enhancement Cardiac Magnetic Resonance of Myocardial Infarction. *JACC Cardiovasc Imaging* 2017:1–12.

18. Witschey WRT, Pilla JJ, Ferrari G, et al.: Rotating frame spin lattice relaxation in a swine model of chronic, left ventricular myocardial infarction. *Magn Reson Med* 2010; 64:1453–60.

19. Holtackers RJ, Chiribiri A, Schneider T, Higgins DM, Botnar RM: Dark-blood late gadolinium enhancement without additional magnetization preparation. *J Cardiovasc Magn Reson* 2017; 19:64.

20. Thygesen K, Alpert JS, Jaffe AS, et al.: Fourth universal definition of myocardial infarction (2018). *Eur Heart J* 2018; 33:2551–2567.

21. Witschey WRT, Borthakur A, Elliott MA, et al.: Artifacts in T1 rho-weighted imaging: compensation for B(1) and B(0) field imperfections. *J Magn Reson* 2007; 186:75–85.

22. Flett AS, Hasleton J, Cook C, et al.: Evaluation of techniques for the quantification of myocardial scar of differing etiology using cardiac magnetic resonance. *JACC Cardiovasc Imaging* 2011; 4:150–156.

23. Amado LC, Gerber BL, Gupta SN, et al.: Accurate and objective infarct sizing by contrast-enhanced magnetic resonance imaging in a canine myocardial infarction model. *J Am Coll Cardiol* 2004; 44:2383–2389.

24. Basha TA, Tang MC, Tsao C, et al.: Improved dark blood late gadolinium enhancement (DB-LGE) imaging using an optimized joint inversion preparation and T2 magnetization preparation. *Magn Reson Med* 2017; 00(October 2016).

25. Francis R, Kellman P, Kotecha T, et al.: Prospective comparison of novel dark blood late gadolinium enhancement with conventional bright blood imaging for the detection of scar. *J Cardiovasc Magn Reson* 2017; 19:1–12.

26. Bruder O, Wagner A, Lombardi M, et al.: European Cardiovascular Magnetic Resonance (EuroCMR) registry--multi national results from 57 centers in 15 countries. *J Cardiovasc Magn Reson* 2013; 15:9.

**Figure Legends**

Figure 1. shows the T1 rho preparation for the FIDDLE (T1ρ) pulse sequence

Figure 2. A, B, C (Patient 1) shows a small sub-endocardial anterior infarct imaged with each of the pulse sequences. A is T1ρ, B is MN and C is BN. B shows limited contrast between the blood pool and scar and it could be mistaken for outflow tract, whereas in C the scar is clearly apparent. A demonstrates increased contrast between scar and blood pool but limited contrast between myocardium and blood pool.

Figure 3. A, B, C (Patient 2) shows an acute inferior infarction with RV involvement and microvascular obstruction (MVO). B is MN compared to A, and C (T1ρ and BN respectively) it is difficult to discern the extent of the RV infarction. D, E and F (Patient 3) show an acute lateral infarction with extensive MVO imaged with T1ρ, MN and BN respectively. It is difficult to discern the papillary muscle MVO except in the T1ρ (D).

Figure 4. shows 2 patients with chronic infarction imaged with each of the pulse sequences: A and D are T1ρ, B, E is MN and C, F BN.

Fig 5. shows CNR for the respective sequences. Downward lines of the asterisked (\*) bars demarcate significant difference between the CNRs of the respective pulse sequences.